## Slide 1: Automation of Energy Systems Project for the academic year 2022/2023 Alessandro Puglisi, Nicolò Spinelli, Riccardo Mondin, Davide Pizzocheri
PROBLEM STATEMENT:
AC system, , Three generators:
G1:
G2:
G3:
Assumptions:
Rigid network when using multiple generators
generators can be activated/deactivated at any time, useful assumption when solving the optimization problem.

## Slide 2: Configuration A, Control
G3 feeding L3+L4 (Islanded case):
from specification:
δPe ramp, 5MW over 10 sec
δω ≤ 0.05
tset ≈ 15 min: 5/ωc ≤ 900 → ωc ≥ 0.006 rad/s
φm ≥ 60°: design choice, non oscillatory response .
TA= = 6.573 sec ,
Loop shaping: C(s) =
Let’s simulate on Modelica:

## Slide 3
Modelica:
PID C(s): set up ωc = 0.06 , one zero cancel gen pole, other zero in 0.022, pole in 0.6, than double the gain after some simulation, to get a better response without issue
C(s) =2*6.573*(0.04)2 *
Neither settling time nor frequency error constraint guarantee!
Better to use a PID, to have a fast control, so less frequency loss

## Slide 4
G1,G2 feeding L1+L2 (network generators)
= , (assuming overall inertia as the sum)
β1=1/3 , β2=2/3 (proportional to nominal Power)
Simulate on Modelica..
Guarantee same specification of islanded case, design a goal L(s) and find the equivalent C(s) PID reversing the dynamic.
Solve a system of equation with degrees of freedom primary and secondary gains.

## Slide 5
Modelica:
good freqency error. But controllers used in a very inefficent way! (during tuning we should also look inside the system, in particular the control action) To solve this, partition the effort proportionally to generator capability changing ks, kp1,2 .
Kp1 = 1.064
Kp2= 0.677327
Ks = 0.016

## Slide 6: Configuration A, Optimization
(focus on G1,G2 feeding L1+L2)
G1: Pg1,min = 15MW Pg1,max = 100 MW
G2: Pg2,min = 7.5 MW Pg2,max = 50 MW
Optimization problem:
cost f: f(Pg1,Pg2) = c1(Pg1)+c2(Pg2)
s.t: → as KKT formulation:
 | S1 | S2 | S3 | S4 | S5 | S6
Pe | 60 | 70 | 120 | 120 | 110 | 60
I1: [60,100] -> (G1, G1+G2)
I2: [100,120] -> (G1+G2)
f = 1.5 + 1.5*(Pg1-95)2+ 3*(Pg2-48)2
g = Pg1 + Pg2 – Pe
h1=Pg1 - Pg1,min
h2=Pg1,max - Pg1
h3=Pg2 - Pg2,min
h4=Pg2,max - Pg2
L= f + λ*g + μ*h (Lagrangian)

## Slide 7
Compare the feasible combinations for each Pe:
Pe=60:
G1 Only:
Pg1 = Pe = 60 , c1= 0.5+1.5*(60-95)2=1838
G1+G2:
Maxima:
cost rate G1+G2 > cost rate G1 -> for Pe=60 optimal choice: Only G1!
 |  | λ |  |  |  |  | f | 
39.67 | 20.33 | 166 | 0.00 | 0.00 | 0.00 | 0.00 | 6890.5 | Opt.
15.00 | 45.00 | 18.00 | 222 | 0.00 | 0.00 | 0.00 | 9628.5 | Left ext
100.0 | -40.00 | 528 | 0.00 | 543 | 0.00 | 0.00 | 23271 | Unf.
52.50 | 7.50 | 127.5 | 0.00 | 0.00 | 115.5 | 0.00 | 7631 | Left ext
10.0 | 50.0 | 255 | 0.00 | 0.00 | 0.00 | 267 | 10851 | Unf.
 |  | λ |  |  |  |  | f | 
39.67 | 20.33 | 166 | 0.00 | 0.00 | 0.00 | 0.00 | 6890.5 | Opt.
15.00 | 45.00 | 18.00 | 222 | 0.00 | 0.00 | 0.00 | 9628.5 | Left ext
100.0 | -40.00 | 528 | 0.00 | 543 | 0.00 | 0.00 | 23271 | Unf.
52.50 | 7.50 | 127.5 | 0.00 | 0.00 | 115.5 | 0.00 | 7631 | Left ext
10.0 | 50.0 | 255 | 0.00 | 0.00 | 0.00 | 267 | 10851 | Unf.

## Slide 8
GRAPHICALLY: (for Pe=60) for Pe increasing, cost rate shift
Summing up all the results:
Let’s simulate on Modelica,
using same controllers:
 |  | tBias1 |  | tBias2 | Cost rate | combinat
S1 | 60 | 0.6 | 0 | 0 | 1838 | G1
S2 | 70 | 0.7 | 0 | 0 | 938 | G1
S3 | 79.67 | 0.8 | 40.33 | 0.81 | 530.5 | G1+G2
S4 | 79.67 | 0.8 | 40.33 | 0.81 | 530.5 | G1+G2
S5 | 73 | 0.73 | 37 | 0.74 | 1090.5 | G1+G2
S6 | 60 | 0.6 | 0 | 0 | 1838 | G1
 |  | tBias1 |  | tBias2 | Cost rate | combinat
S1 | 60 | 0.6 | 0 | 0 | 1838 | G1
S2 | 70 | 0.7 | 0 | 0 | 938 | G1
S3 | 79.67 | 0.8 | 40.33 | 0.81 | 530.5 | G1+G2
S4 | 79.67 | 0.8 | 40.33 | 0.81 | 530.5 | G1+G2
S5 | 73 | 0.73 | 37 | 0.74 | 1090.5 | G1+G2
S6 | 60 | 0.6 | 0 | 0 | 1838 | G1

## Slide 9
Some overdump due to intial set up dynamic and generators pool switching
Frequency error
Primary control
Secondary control

## Slide 10: Configuration B, Control
= , (again, assume overall inertia as sum)
β1= β3 = 0.4, β2=0.2 (given secondary partition policy)
We tune the controller as done for the previous network (G1+G2 control), equaling the coefficients of the parametric L(s) and the desired one (kept the same as the previous point) we get the following solutions
These solutions however produce once again an imbalanced response of the control variable,
Modify those gains by some magic and tons of errors.. to get a better-distributed stress in the network while still fulfilling the requirements
Kp1 = 0.520
Kp2 = 0.135
Kp3 = 0.595
Ks = 0.0129

## Slide 11
Primary control
Secondary control
Frequency error

## Slide 12: Configuration B, Optimization
(G1,G2,G3 feeding L1+L2*L3*L4)
G3: Pg3,min = 22.5 MW Pg3,max = 150 MW
 | S1 | S2 | S3 | S4 | S5 | S6
Pe | 170 | 180 | 230 | 210 | 240 | 190
I1: [170,200] -> (G2+G3, G1+G3, G1+G2+G3) I2: [200,240] -> (G1+G3, G1+G2+G3)
We cosider the point of view of a producer with expenditure only on G1 and G3, that can fix power given by G2 (given by another producer) without caring about its cost rate.

## Slide 13
Optimzation problem (in KKT formulation)
f = 0.5 + 1.5*(Pg1-95)2+ 1.5 +4*(Pg3-140)2 (neglect c2 on the cost function, as we pointed out)
g = Pg1 + Pg2 + Pg3 – Pe
h1=Pg1 - Pg1,min MAXIMA:
h2=Pg1,max - Pg1
h3=Pg2 - Pg2,min
h4=Pg2,max - Pg2
h5=Pg3 - Pg3,min
h6=Pg3,max - Pg3
L= f + λ*g + μ*h (Lagrangian)
(blue parts only if G3 is active, green one when G1 is active)

## Slide 14
 |  |  |  |  |  |  | Cost rate | Combin.
S1 | 0 | 0 | 30 | 0.6 | 140 | 0.93 | 1.5 | G2+G3
S2 | 0 | 0 | 40 | 0.8 | 140 | 0.93 | 1.5 | G2+G3
S3 | 91.36 | 0.91 | 0 | 0 | 138.64 | 0.92 | 29.27 | G1+G3
S4 | 76.82 | 0.77 | 0 | 0 | 133.18 | 0.89 | 683.2 | G1+G3
S5 | 93.18 | 0.93 | 7.5 | 0.15 | 139.32 | 0.93 | 8.82 | G1+G2+G3
S6 | 0 | 0 | 50 | 1 | 140 | 0.93 | 1.5 | G2+G3
 |  |  |  |  |  |  | Cost rate | Combin.
S1 | 0 | 0 | 30 | 0.6 | 140 | 0.93 | 1.5 | G2+G3
S2 | 0 | 0 | 40 | 0.8 | 140 | 0.93 | 1.5 | G2+G3
S3 | 91.36 | 0.91 | 0 | 0 | 138.64 | 0.92 | 29.27 | G1+G3
S4 | 76.82 | 0.77 | 0 | 0 | 133.18 | 0.89 | 683.2 | G1+G3
S5 | 93.18 | 0.93 | 7.5 | 0.15 | 139.32 | 0.93 | 8.82 | G1+G2+G3
S6 | 0 | 0 | 50 | 1 | 140 | 0.93 | 1.5 | G2+G3
Summing up the optimization results:
Once computed the tertiary bias, using the control tuned previously, we can simulate our optimal tertiary bias as done before.

## Slide 15
Primary control
Secondary control
Frequency error